## Slide 1: ACOREL
Tutorial

## Slide 2: TABLE OF CONTENTS
1. Image Pre-Processing
2. LABEL GUI
3. Electrodes Post-Processing
4. Plotting

## Slide 3: IMAGE PRE-PROCESSING
pre-implant MRI Full-Reconstruction
Alignment of pre-MRI < - > post-CT
post-implant MRI Half-Reconstruction
Alignment of pre-MRI < - > post-MRI
Artifact extraction of post-MRI
Make Smooth Surfaces

## Slide 4: SUBJECTS DIRECTORY
Folder with all the subjects
  Edit directly in ‘subjects_path.txt’
  Or can be changed from the acorel GUI
  Top right corner “CHOOSE DIR”

## Slide 5: TCSH
The following slides detail the TCSH scripts
Execute script by typing ‘tcsh <script-name>’ in the shell
  Must be in same directory as file (aka desktop)
  Also can use ‘source’
Ex. tcsh preRecon

## Slide 6: FSSetup
Uses the GuestAdditions to create a shared folder with the virtual machine
  Password: freesurfer
Sets up the FreeSurfer environment

## Slide 7: Prepare Files & Enter Names
Separate dicoms into three scan folders
  Pre-MRI
  Post-MRI
  Post-CT
Name the subjects and the write filepaths to image scans
** EDIT THIS PART **

## Slide 8: preRecon
This function handles:
  Pre-implant full reconstruction (~12 – 24 hrs)
  Mutual Information registration postCT - preMR

## Slide 9: postRecon
This function handles:
  Post-implant partial reconstruction (~12 – 24 hrs)
  Mutual Information registration postCT - preMR

## Slide 10: postARTS
This function handles:
  Extracting the post-implant MRI artifacts

## Slide 11: smoothSurf
This function takes in the filled surfaces (created in matlab; see below) and makes a smooth surface that is later used for electrode projection
  The filled surfaces can be made in matlab by pushing the button “MakeSmooth” on the gui
  DO THIS BEFORE RUNNING “smoothSurf”!!!

## Slide 12: MATLAB

## Slide 13: LABEL GUI
Remove Erroneous centroids
Add NEW points
LABEL the points
SAVE the coordinates
Features
  Use keyboard or buttons on GUI
  Rotatable 3D Brain (with transparency)
  Re-run the centroid detection algorithm with new parameters (editable on GUI)

## Slide 14: 1. Remove the errors
1.
2.
3. Hit Backspace or Delete

## Slide 15: Remove errors *Notes
Usually around depth electrodes and overlapping electrodes
Also occurs on wires or other surgically implanted metal

## Slide 16: 2. NEW Point
1.
2.
3.
4. Hit Enter

## Slide 17: NEW Points *Notes
Change the brush radius to the electrode radius
The selected point is highlighted in red and the surrounding points in yellow.
The algorithm picks from this cloud (yellow+red) and calculates the centroid

## Slide 18: 3. LABEL the points
1.
2.
3.
4. Hit Enter

## Slide 19: LABEL Points *Notes
Multi-label adds +1 to the edit field with the electrode name after you hit ENTER. This will speed up the process so you don’t have to change the field each time from RST1 to RST2

## Slide 20: 4. SAVE the points

## Slide 21: Electrode Post-Processing
Buttons on MAIN GUI
  AUTO-REG
    Does the ICP and saves the coords
  SURF-PROJ
    Projects to surface and saves the coords
    Need to Specify the Depth electrodes